|  | Standards Advisory and Coordination Committee (SACCom) Representative Report |  |
| --- | --- | --- |

| Date of Report | 7 August 2017 |  | Name of Representative: |  | Don Heirman |
| --- | --- | --- | --- | --- | --- |
| Representative’s Position: |  |  | Member |  |  |
| Represented Technical Entity: |  |  | IEC/CISPR Subcommittee A: Radio Interference Measurements and statistical methods |  |  |
| Technical Entity Scope/Function: |  |  | To prepare and revise CISPR Statements and Publications for measuring instruments and ancillary apparatus, and methods common to several applications |  |  |
| Current Activities of Entity: |  |  | Continuing active activities in various stages of preparation: - 16-1-2 Artificial Networks for DC port measurements of grid connected power converters—moved to FDIS stage - 16-1-4 Test site validation above 1 GHz accounting for antenna pattern; cross polar response of antennas - 16-1-5 Site validation above 1 GHz - 16-1-6 antenna calibration above 1 GHz - 16-2-1 Method of measurement of RF low voltage DC ports - 16-2-3 Phase center corrections for LPDA antennas in radiated disturbance measurements; criterion for size of equipment 30 MHz to 1 GHz.. - 16-4-2 Uncertainty of conducted disturbance measurements using the 150-Ω Δ AN; measurement instrumentation uncertainty using the Large Loop Antenna System, hybrid antennas, and capacitive probes. - Joint work within TC77 TEM waveguide measurements Reverberation chamber measurements - Joint work with other CISPR subcommittees - Grid connected power inverters - DC artificial Networks - EUT cable arrangements - Chamber evaluation for automotive testing - Use of reverberation chambers as an alternative for E-field testing - Size of equipment considerations - Emission measurements below 30 MHz - Smart Grid measurements below 150 kHz - Use of FFT in emission measurements |  |  |
| Standards/Revisions recently voted on: |  |  |  | published since October 2014 (from the CIS/A last meeting agenda in late October 2016 in China 6.5.1 1-1 Ed. 4.0 (IS 2015-09) 6.5.2 CISPR 16-1-3 Am 1Ed. 2.0 (IS 2016-03) 6.5.3 CISPR 16-1-4 Am 2 Ed. 3.0 (FDIS 2016-10) 6.5.4 CISPR 16-1-5 Am 1 Ed. 2.0 (FDIS 2016-09) voting closed 6.5.5 CISPR 16-1-6 Am 1 Ed. 1.0 (FDIS 2016-10) 6.5.6 CISPR 16-2-3 Ed. 4.0 (FDIS 2016-07) 6.5.7 CISPR 16-2-3 Ed. 4.0 (IS 2016-09) 6.5.8 CISPR 25 Ed. 4.0 (FDIS 2016-09, JWG D/A for Annex J) |
| Recently published Standards1: |  |  |  | See standards list on http://www.iec.ch/dyn/www/f?p=103:23:0::::FSP_ORG_ID,FSP_LANG_ID:1327,25 |  |
| Scheduled Future Projects: |  |  | Continuing maintenance of CISPR 16 basic standards and technical reports |  |  |
| Activities requiring technical support of the EMC-S: |  |  | SDECom might want to review the work when it is further maintained to possibly provide inputs via an appropriate channel or to move EMCS standards on subjects not covered in this subcommittee into CISPR via the dual IEEE/IEC logo method or as technical contribution via the US National Committee Technical Advisory Group for CISPR Subcommittee A |  |  |
| Activities requiring financial support of SACCom or EMC-S: |  |  | None |  |  |
| Additional Comments: |  | CISPR 16-1 consists of six parts, specifies voltage, current and field measuring apparatus for broadband and narrowband types of disturbance at these frequencies, including specifications for specialized equipment needed to measure discontinuous disturbances.. - Part 1-1: Measuring apparatus - Part 1-2: Ancillary equipment – Conducted disturbances - Part 1-3: Ancillary equipment – Disturbance power - Part 1-4: Ancillary equipment – Radiated disturbances - Part 1-5: Antenna calibration test sites for 30 MHz to 1 000 MHz - Part 1-6: Antenna calibration. CISPR 16-2 consists of five parts and specifies the methods for measuring high-frequency EMC phenomena, dealing both with disturbances and immunity.. - Part 2-1: Conducted disturbance measurements - Part 2-2: Measurement of disturbance power - Part 2-3: Radiated disturbance measurements - Part 2-4: Immunity measurements - Part 2-5: In situ measurements for disturbing emissions produced by physically large equipment. CISPR 16-3 is a non-normative IEC Technical Report rather than an International Standard that contains specific technical reports and information on the history of CISPR.. CISPR 16-4 consists of four parts and contains information related to uncertainties, statistics and limit modelling.. - Part 4-1: Uncertainties in standardized EMC tests - Part 4-2: Uncertainty in EMC measurements - Part 4-3: Statistical considerations in the determination of EMC compliance of mass-produced products - Part 4-4: Statistics of complaints and a model for the calculation of limits - Part 4-5: Conditions for the use of alternative test methods. |

If Standards were harmonized with other organizations, e.g. IEC-CENELEC, please advise)

Please provide results of vote. If disapproved, please advise major reasons, if known