|  | Standards and Advisory Coordination Committee (SACCom) Representative Report |  |
| --- | --- | --- |

| Date: | 12 July 2017 |
| --- | --- |
| Representative: | Ross Carlton |
| Position: | USTAG Member and Technical Expert |
| Technical Entity: | IEC SC65A/WG4 |
| Scope/Function: | The scope of IEC SC65A is to prepare standards regarding the generic aspects of systems used in industrial-process measurement and control: operational conditions (including EMC), methodology for the assessment of systems, functional safety, etc. Working Group 4 develops EMC product family standards for industrial-process measurement and control apparatus. |
| Current Activities: (major items only) | Last meeting of SC65A/WG4 was from 14-16 June 2016 in Portland, OR, USA. ● Revising IEC 61326-3-1 and IEC 61326-3-2 product family EMC standards for test, measurement, laboratory, and control equipment used in safety application per IEC 61508. These revised standards were published as described below. ● Collecting comments for the planned 2018-2019 maintenance of IEC 61326-1 & IEC 61326-2-x. |
| New Work Items (proposed/approved): | None. |
| Standards/Revisions (recently voted on): | ● IEC 61326-3-1 - The FDIS of Edition 2 (65A/819/FDIS) was published on 27 January 2017. - Voting closed on 10 March 2017 with 100% of P-members voted in favor (65A/825/RVD). - The IS was published on 16 May 2017. ● IEC 61326-3-2 - The FDIS of Edition 2 (65A/820/FDIS) was published on 27 January 2017. - Voting closed on 10 March 2017 with 100% of P-members voted in favor (65A/826/RVD). - The IS was published on 16 May 2017. |
| Recently Published Standards1: | IEC 61326-1:2012-07 {Ed. 2.0} IEC 61326-2-1:2012-10 {Ed. 2.0} IEC 61326-2-2:2012-10 {Ed. 2.0} IEC 61326-2-3:2012-07 {Ed. 2.0} IEC 61326-2-4:2012-07 {Ed. 2.0} IEC 61326-2-5:2012-10 {Ed. 2.0} IEC 61326-2-6:2012-07 {Ed. 2.0} IEC 61326-3-1:2017-05 {Ed. 2.0} IEC 61326-3-2:2017-05 {Ed. 2.0} |
| Scheduled Future Projects: | The stability dates for IEC 61326-1 and IEC 61326-2-x were changed from 2016 to 2019. |
| Next meeting/venue of Entity | SC65A/WG4 will meet from 5-7 December 2017 in Vienna, Austria. |
| Activities requiring technical support of EMC-S Standards Committees: | None. |
| Activities requiring financial support of SACCom or EMC-S, if available: | None. |
| Additional Comments: | None. |

If Standards were harmonized with other organizations, please advise

Please provide results of vote.  If disapproved, please advise major reasons, if known