|  | Standards and Advisory Coordination Committee (SACCom) Representative Report |  |
| --- | --- | --- |

| Date: | 4 November 2016 |
| --- | --- |
| Representative: | Don Heirman |
| Position: | Immediate past chair AAMI EMC Committee |
| Technical Entity: | Association for the Advancement of Medical Instrumentation |
| Scope/Function: | Support healthcare industry in the development, management and use of safe and effective medical technology. The standards activity is found on this page http://www.aami.org/standards/index.aspx?navItemNumber=504 The EMC Committee home page is: https://standards.aami.org/kws/public/workgroup?wg_abbrev=EM |
| Current Activities: (major items only) | AAMI has the US TAG for TC62. |
| New Work Items (proposed/approved): | None in EMC |
| Standards/Revisions (recently voted on): | IEC60601-1-2 now does not have the EMC collateral information. It has been moved to a technical report: IEC/TR 60601-4-2: Guidance and Interpretation—Electromagnetic immunity: performance of medical electrical equipment and medical electrical systems. |
| Recently Published Standards1: | No recent EMC publications |
| Scheduled Future Projects: | Review activity coming out of IEC TC62 (Electrical Equipment in Medical practice) and SC62A especially the TR noted above. |
| Next meeting/venue of Entity | SC 62A met at the IEC General Meeting in Germany in October 2016 |
| Activities requiring technical support of EMC-S Standards Committees: | None |
| Activities requiring financial support of SACCom or EMC-S, if available: | None |
| Additional Comments: | None |

If Standards were harmonized with other organizations, please advise

Please provide results of vote.  If disapproved, please advise major reasons, if known