## A2LA Audit Prep_Table
E3 Laboratory Certification - Audit Preparation Readiness Table
Test Type | Lead Technician | Audit Authority Check List | Written Test Procedure | Test Software | System Characterization | SPC Transducer | Test Fixture Configuration Drawing/Cntl List | Technician - Test Method Certification | Measurement Uncertainty | Statistical Process Control Method in Place | Capability Statement | Proficiency Testing ('Golden' Sample) | Standard Authority | Standard Reference # | Average Complete
Test 1 | Tech 1 | 94% | 100% | 100% | 100% | 100% | 100% | 100% | 80% | 100% | 100% | 0% | QFL | 1 | 97.4%
Test 2 | Tech 5 | 94% | 100% | 75% | 100% | 100% | 75% | 0% | 80% | 0% | 0% | 0% | QFL | 2 | 62.4%
Test 3 | Etc. | 100% | 99% | 100% | 100% | 100% | 100% | 100% | 80% | 100% | 100% | 5% | QFL | 3 | 97.9%
Test 4 | Etc. | 99% | 100% | 100% | 100% | 100% | 100% | 100% | 80% | 100% | 100% | 0% | QFL | 4 | 97.9%
Test 5 | Etc. | 99% | 100% | 100% | 80% | 100% | 100% | 100% | 80% | 100% | 0% | 0% | QFL | 5 | 85.9%
Test 6 | Etc. | 100% | 88% | 100% | 100% | 100% | 100% | 100% | 80% | 100% | 0% | 100% | QFL | 6 | 86.8%
Test 7 | Etc. | 81% | 100% | 90% | 80% | 100% | 100% | 100% | 80% |  | 0% | 0% | QFL | 7 | 81.22%
Test 8 | Etc. | 70% | 100% | 100% | 100% | 100% | 90% | 100% | 80% | 100% | 0% | 0% | QFL | 8 | 84%
Test 9 | Etc. | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 90% | 50% | 100% | 0% | QFL | 9 | 94%
Test 10 | Etc. | 80% | 100% | 100% | 100% | 100% | 100% | 80% | 90% | 100% | 100% | 0% | QFL | 10 | 95%
Test 11 | Etc. | 100% | 100% | 100% | 50% | 100% | 100% | 100% | 90% | 100% | 100% |  | QFL | 11 | 94%
Average Complete |  | 92.45% | 98.82% | 96.82% | 91.82% | 100% | 96.82% | 89.09% | 82.73% | 85% | 54.55% | 10.5% |  | Overall | 88.77%
| 100% |  | 1st Write | 12.5% |  |  |  |  | .xls File | 16.67%
|  |  | Rev 1 | 25% |  |  |  |  | Method | 33.33%
|  |  | Edit 1 | 37.5% |  |  |  |  | Software | 50%
|  |  | Format | 50% |  |  |  |  | Proc. | 66.67%
|  |  | Rev 2 | 62.5% |  |  |  |  | In Use | 83.33%
|  |  | Edit 2 | 75% |  |  |  |  | History | 100%
|  |  | Run | 87.5%
|  |  | Aproval | 100%

## Training sequence
|  |  | TEAM MEMBERS | [14 empty] | Analysis Block
|  |  | Tech 1 | Tech 2 | Tech 3 | Tech 4 | Tech 5 | Tech 6 | Tech 7 | Tech 8 | Tech 9 | Tech 10 | Tech 11 | Tech 12 | Tech 13 | Tech 14 |  | Tech 1 | Tech 2 | Tech 3 | Tech 4 | Tech 5 | Tech 6 | Tech 7 | Tech 8 | Tech 9 | Tech 10 | Tech 11 | Tech 12 | Tech 13 | Tech 14 | Summary Column
Review Equipment Technical Manuals
Test Name | Std | Standard # | TEAM MEMBERS Tech 1: Fill in dates relevent task was completed.
Test 1 | QFL | 1 | TEAM MEMBERS Tech 11: 2001-09-21 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1
Test 2 | QFL | 2 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 3 | QFL | 3 | TEAM MEMBERS Tech 5: 2001-09-21 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 4 | QFL | 4 | TEAM MEMBERS Tech 4: 2001-09-21 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 5 | QFL | 5 | TEAM MEMBERS Tech 1: 2001-09-21; TEAM MEMBERS Tech 6: 2001-09-21; TEAM MEMBERS Tech 9: 2001-09-21 |  | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1
Test 6 | QFL | 6 | TEAM MEMBERS Tech 9: 2001-06-20 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1
Test 7 | QFL | 7 | TEAM MEMBERS Tech 8: 2001-09-21 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 8 | QFL | 8 | TEAM MEMBERS Tech 7: 2001-06-20; TEAM MEMBERS Tech 9: 2001-06-20; TEAM MEMBERS Tech 12: 2001-08-22 |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1
Test 9 | QFL | 9 | TEAM MEMBERS Tech 12: 2001-09-21 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Test 10 | QFL | 10 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 11 | QFL | 11 | TEAM MEMBERS Tech 2: 2001-09-21; TEAM MEMBERS Tech 10: 2001-09-21 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
|  | Completed | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11
Review Test Standards & Procedures
Test Standards | Std | Standard # | TEAM MEMBERS Tech 1: Fill in dates relevent task was completed.
Test 1 | QFL | 1 | TEAM MEMBERS Tech 11: 2001-09-21 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1
Test 2 | QFL | 2 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 3 | QFL | 3 | TEAM MEMBERS Tech 5: 2001-09-21 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 4 | QFL | 4 | TEAM MEMBERS Tech 4: 2001-09-21 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 5 | QFL | 5 | TEAM MEMBERS Tech 1: 2001-09-21; TEAM MEMBERS Tech 6: 2001-09-21; TEAM MEMBERS Tech 9: 2001-09-21 |  | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1
Test 6 | QFL | 6 | TEAM MEMBERS Tech 3: 2001-04-18; TEAM MEMBERS Tech 9: 2001-06-20 |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1
Test 7 | QFL | 7 | TEAM MEMBERS Tech 8: 2001-09-21 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 8 | QFL | 8 | TEAM MEMBERS Tech 7: 2001-06-20; TEAM MEMBERS Tech 9: 2001-06-20 |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1
Test 9 | QFL | 9 | TEAM MEMBERS Tech 12: 2001-09-21 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Test 10 | QFL | 10 | TEAM MEMBERS Tech 3: 2001-09-21 |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 11 | QFL | 11 | TEAM MEMBERS Tech 2: 2001-06-20; TEAM MEMBERS Tech 10: 2001-09-21 |  | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
|  | Completed | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11
OJT - Intro to Setup/ Cal/ SPC/ & Test
Test Standards | Std | Standard # | TEAM MEMBERS Tech 1: Fill in dates relevent task was completed.
Test 1 | QFL | 1 | TEAM MEMBERS Tech 3: 2001-06-05; TEAM MEMBERS Tech 11: 2001-09-20 |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1
Test 2 | QFL | 2 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 3 | QFL | 3 | TEAM MEMBERS Tech 5: 2001-09-21 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 4 | QFL | 4 | TEAM MEMBERS Tech 4: 2001-09-21 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 5 | QFL | 5 | TEAM MEMBERS Tech 1: 2001-09-21; TEAM MEMBERS Tech 6: 2001-09-21 |  | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 6 | QFL | 6 | TEAM MEMBERS Tech 3: 2001-04-18; TEAM MEMBERS Tech 9: 2001-09-21 |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1
Test 7 | QFL | 7 | TEAM MEMBERS Tech 8: 2001-09-21 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 8 | QFL | 8 |  |  | 2001-05-04 | 2001-05-04 | 2001-05-04 | 2001-05-04 | 2001-06-20 | 2001-05-04 | 2001-05-04 |  | 2001-05-04 | 2001-05-04 | 2001-05-04 |  |  | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1
Test 9 | QFL | 9 | 2001-05-04 | 2001-05-04 | 2001-05-04 | 2001-05-04 | 2001-05-04 | 2001-05-04 | 2001-05-04 | 2001-05-04 | 2001-05-04 |  | 2001-05-04 | 2001-05-04 | 2001-05-04 |  |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 1
Test 10 | QFL | 10 | TEAM MEMBERS Tech 3: 2001-09-21 |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 11 | QFL | 11 | TEAM MEMBERS Tech 2: 2001-06-20; TEAM MEMBERS Tech 3: 2001-05-21; TEAM MEMBERS Tech 10: 2001-09-21 |  | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
|  | Completed | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11
0
OJT - Coach on Test
Test Standards | Std | Standard # | TEAM MEMBERS Tech 1: Fill in dates relevent task was completed.
Test 1 | QFL | 1 | TEAM MEMBERS Tech 3: 2001-06-04; TEAM MEMBERS Tech 11: 2001-09-21 |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1
Test 2 | QFL | 2 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 3 | QFL | 3 | TEAM MEMBERS Tech 5: 2001-09-21 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 4 | QFL | 4 | TEAM MEMBERS Tech 4: 2001-09-21 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 5 | QFL | 5 | TEAM MEMBERS Tech 1: 2001-09-21; TEAM MEMBERS Tech 6: 2001-09-21; TEAM MEMBERS Tech 9: 2001-09-21 |  | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1
Test 6 | QFL | 6 | TEAM MEMBERS Tech 9: 2001-09-21 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1
Test 7 | QFL | 7 | TEAM MEMBERS Tech 8: 2001-09-21 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 8 | QFL | 8 | TEAM MEMBERS Tech 7: 2001-06-20 |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 9 | QFL | 9 | TEAM MEMBERS Tech 12: 2001-09-21 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Test 10 | QFL | 10 | TEAM MEMBERS Tech 3: 2001-09-21 |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 11 | QFL | 11 | TEAM MEMBERS Tech 2: 2001-06-20; TEAM MEMBERS Tech 3: 2001-05-21; TEAM MEMBERS Tech 10: 2001-09-21 |  | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
|  | Completed | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11
OJT - 'Solo' - Instructor Observes
Test Standards | Std | Standard # | TEAM MEMBERS Tech 1: Fill in dates relevent task was completed.
Test 1 | QFL | 1 | TEAM MEMBERS Tech 11: 2001-09-21 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1
Test 2 | QFL | 2 | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 3 | QFL | 3 | TEAM MEMBERS Tech 5: 2001-09-21 |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 4 | QFL | 4 | TEAM MEMBERS Tech 4: 2001-09-21 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 5 | QFL | 5 | TEAM MEMBERS Tech 1: 2001-09-21; TEAM MEMBERS Tech 6: 2001-09-21; TEAM MEMBERS Tech 9: 2001-09-21 |  | 1 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1
Test 6 | QFL | 6 | TEAM MEMBERS Tech 9: 2001-09-21 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1
Test 7 | QFL | 7 | TEAM MEMBERS Tech 8: 2001-09-21 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 8 | QFL | 8 | TEAM MEMBERS Tech 7: 2001-09-21 |  | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 9 | QFL | 9 | TEAM MEMBERS Tech 12: 2001-09-21 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
Test 10 | QFL | 10 | TEAM MEMBERS Tech 3: 2001-09-21 |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1
Test 11 | QFL | 11 | TEAM MEMBERS Tech 2: 2001-06-20; TEAM MEMBERS Tech 3: 2001-05-21; TEAM MEMBERS Tech 10: 2001-09-21 |  | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
|  | Completed | [15 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11
TEAM MEMBERS
Test Method Certification Status |  |  | Tech 1 | Tech 2 | Tech 3 | Tech 4 | Tech 5 | Tech 6 | Tech 7 | Tech 8 | Tech 9 | Tech 10 | Tech 11 | Tech 12 | Tech 13 | Tech 14
Test Name | Std | Std. Number | TEAM MEMBERS Tech 1: % Complete status calculated based upon the above entries.
Test 1 | QFL | 1 | 0% | 0% | 40% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% |  | 0% | 0% | 40% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 5
Test 2 | QFL | 2 | [15 empty] | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 5 | bar: TEAM MEMBERS Tech 1 to TEAM MEMBERS Tech 14
Test 3 | QFL | 3 | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% |  | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 5
Test 4 | QFL | 4 | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% |  | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 5
Test 5 | QFL | 5 | 100% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 80% | 0% | 0% | 0% | 0% | 0% |  | 100% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 80% | 0% | 0% | 0% | 0% | 0% | 5
Test 6 | QFL | 6 | 0% | 0% | 40% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% |  | 0% | 0% | 40% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 5
Test 7 | QFL | 7 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 0% | 0% | 5
Test 8 | QFL | 8 | 0% | 0% | 20% | 20% | 20% | 20% | 100% | 20% | 60% | 0% | 20% | 40% | 0% | 0% |  | 0% | 0% | 20% | 20% | 20% | 20% | 100% | 20% | 60% | 0% | 20% | 40% | 0% | 0% | 5
Test 9 | QFL | 9 | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 0% | 20% | 100% | 0% | 0% |  | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 0% | 20% | 100% | 0% | 0% | 5
Test 10 | QFL | 10 | 0% | 0% | 80% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% |  | 0% | 0% | 80% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 5
Test 11 | QFL | 11 | 0% | 100% | 60% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% |  | 0% | 100% | 60% | 0% | 0% | 0% | 0% | 0% | 0% | 100% | 0% | 0% | 0% | 0% | 5
100%